## Cost Fraud Control Parameters
Process for Evaluating Project Costs
Average project cost data was obtain from BEIS for most primary and secondary measures. Where data was not provided, ICF performed a web search to obtain third party cost data.
This cost data was converted to applicable unit level cost (based on the current GHG application) in the "Insulation - ICF" and "Heating Measures - ICF" tabs.
for projects in the London area, these costs were increased by 25%.
Quotes
If quote varies from the average cost by +/- 25%, then it is required to be reviewed by 2nd tier technical reviewer.
2nd tier technical reviewer decides if costs are justifiable.
If costs are justifiable, application is processed forward.
If costs are not justifiable, request customer to obtain and provide up to two additional quotes from alternate installers.
If this is not possible, e.g., due to a shortage of registered installers, then forward on to BEIS for decision.
New quotes are reviewed, lowest all inclusive quote is recommended for voucher.
If homeowner prefers original installer, then forward on to BEIS for decision.
If quote exceeds the average cost by 50%, then request customer obtains and provides up to two additional quotes from alternate installers.
If this is not possible, e.g., due to a shortage of registered installers, then forward on to BEIS for decision.
New quotes are reviewed, lowest all inclusive quote is recommended for voucher.
If quotes still exceed cost by 50% or customer prefers original installer, then forward to BEIS for decision.
Invoices
If invoice is less than the quote, then the voucher will be amended to the lower invoice amount.
If invoice exceeds the quote, then the voucher is processed at the original voucher amount.
Customer is able to appeal either decision. |  |  |  | 3000 | 15000 | 18000 | 3750 | 18750 | 22500
|  |  |  | Costs for Areas Outside of London |  |  | Costs for Areas in London
| Primary Measure - Insulation | Unit | Average Cost Per Unit | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost | Unit Type (Insulation Qualifier) | # of Rooms Insulated (Insulation Qualifier)
| External Solid Wall Insulation | Wall | 3000 | 750 | 3750 | 4500 | 937.5 | 4687.5 | 5625 | Detached
| External Solid Wall Insulation | Wall | 2750 | 687.5 | 3437.5 | 4125 | 859.375 | 4296.875 | 5156.25 | Flat
| External Solid Wall Insulation | Wall | 3500 | 875 | 4375 | 5250 | 1093.75 | 5468.75 | 6562.5 | Semi-Detached/Terrace
| Internal Solid Wall Insulation | Home Type | 9500 | 2375 | 11875 | 14250 | 2968.75 | 14843.75 | 17812.5 | Detached
| Internal Solid Wall Insulation | Home Type | 3000 | 750 | 3750 | 4500 | 937.5 | 4687.5 | 5625 | Flat
| Internal Solid Wall Insulation | Home Type/Rooms | 3800 | 950 | 4750 | 5700 | 1187.5 | 5937.5 | 7125 | Semi-Detached/Terrace | Less than 4
| Internal Solid Wall Insulation | Home Type/Rooms | 6750 | 1687.5 | 8437.5 | 10125 | 2109.375 | 10546.875 | 12656.25 | Semi-Detached/Terrace | 4 or more
| Cavity Wall Insulation | Home Type | 2000 | 500 | 2500 | 3000 | 625 | 3125 | 3750 | Detached
| Cavity Wall Insulation | Home Type | 1300 | 325 | 1625 | 1950 | 406.25 | 2031.25 | 2437.5 | Flat
| Cavity Wall Insulation | Home Type | 1500 | 375 | 1875 | 2250 | 468.75 | 2343.75 | 2812.5 | Semi-Detached/Terrace/Bungalow
| Under-Floor Insulation: Solid Floor | m2 | 80 | 20 | 100 | 120 | 25 | 125 | 150
| Loft Insulation (board/wool) | m2 | 25 | 6.25 | 31.25 | 37.5 | 7.8125 | 39.0625 | 46.875
| Loft Insulation (Spray) | m2 | 68 | 17 | 85 | 102 | 21.25 | 106.25 | 127.5
| Room in Roof Insulation | m2 | 150 | 37.5 | 187.5 | 225 | 37.5 | 187.5 | 225
| Flat Roof Insulation | m2 | 200 | 50 | 250 | 300 | 50 | 250 | 300
| Park Home Insulation | Home | 8000 | 2000 | 10000 | 12000 | 2500 | 12500 | 15000
| Pitched Roof Insulation | m2 | 80 | 20 | 100 | 120 | 20 | 100 | 120
| Under-Floor Insulation: Suspended Floor | m2 | 56 | 14 | 70 | 84 | 14 | 70 | 84
|  |  |  | Costs for Areas Outside of London |  |  | Costs for Areas in London
| Primary Measure - Low Carbon Heating | Unit | Average Cost Per Unit | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost
| Air Source Heat Pump - Average | system | 8540 | 2135 | 10675 | 12810 | 2668.75 | 13343.75 | 16012.5
| Hybrid Heat Pump | system | 10306 | 2576.5 | 12882.5 | 15459 | 3220.625 | 16103.125 | 19323.75
| Biomass Boilers | system | 12000 | 3000 | 15000 | 18000 | 3750 | 18750 | 22500
| Solar Thermal | system | 6300 | 1575 | 7875 | 9450 | 1575 | 7875 | 9450
| Ground Source Heat Pumps - Average | system | 16000 | 4000 | 20000 | 24000 | 5000 | 25000 | 30000
|  |  |  | Costs for Areas Outside of London |  |  | Costs for Areas in London
| Secondary Measure - Windows & Doors | Unit | Average Cost Per Unit | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost
| Draught Proofing | per home | 1000 | 250 | 1250 | 1500 | 312.5 | 1562.5 | 1875
| Douple Glazing | per window | 800 | 200 | 1000 | 1200 | 250 | 1250 | 1500
| Triple Glazing | per window | 50 | 12.5 | 62.5 | 75 | 15.625 | 78.125 | 93.75
| Door | per door | 800 | 200 | 1000 | 1200 | 250 | 1250 | 1500 |  |  | 1250
| Secondary Glazing | per window | 520 | 130 | 650 | 780 | 162.5 | 812.5 | 975
|  |  |  | Costs for Areas Outside of London |  |  | Costs for Areas in London
| Secondary Measure - Heating Controls & Insulation | Unit | Average Cost Per Unit | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost | 25% Below Avg Cost | 25% Above Avg Cost | 50% Above Avg Cost
| Hot Water Thermostat | per device | 150 | 37.5 | 187.5 | 225 | 46.875 | 234.375 | 281.25
| Hot Water Tank Insulation | lab/mat 1 unit | 50 | 12.5 | 62.5 | 75 | 15.625 | 78.125 | 93.75
| Heating Controls (control) | per device | 385 | 96.25 | 481.25 | 577.5 | 120.3125 | 601.5625 | 721.875
| Heating Controls (TRV) | per device | 105 | 26.25 | 131.25 | 157.5 | 32.8125 | 164.0625 | 196.875

## Insulation - ICF
Note: Yellow highlighted values are used for the Cost Fraud Control Parameters tab.
Average Costs | Approach: Average cost per wall was determined by dividing Total Cost Non-London by estimated number of exterior walls per home type. This could vary based on how "wall" is defined but high costs would be flagged. | [7 empty] | House Area (m2)
External Solid Wall Insulation | Total Cost Non-London | Insulated Walls per home | Ext Wall Ins Cost per Wall | Of which installation | Of which equipment | oriented identification of these indictors, anomalies and trends will trigger a project for additional scrutiny that may include a desktop audit or selection for an onsite targeted audit. | Data Source | Details
Bungalow, 3-bed, ~115m2 | 9500 | 4 | 2375 | 7600 | 1900 |  | James Higgins, Ecuity, collated data from NIA (National Insultation Association). | Costs consistent in UK apart from London. These costs based on midlands. Need to estimate London costs as X% greater than rest of UK. Ecuity say these figures particularly robust. | 115
Detached, 4-bed, ~130m2 | 12000 | 4 | 3000 | 9600 | 2400 |  |  |  | 130
End-terrace, 2-bed, ~80m2 | 7750 | 3 | 2583.3333 | 6200 | 1550 |  |  |  | 80
Flat, 1-bed, ~50m2 | 5500 | 2 | 2750 | 4400 | 1100 |  |  |  | 50
Maisonette, 2-bed, ~60m2 | 6000 | 2 | 3000 | 4800 | 1200 |  |  |  | 60
Mid-terrace, 2-bed, ~75m2 | 7000 | 2 | 3500 | 5600 | 1400 |  |  |  | 75
Semi-Detached, 3-bed, ~100m2 | 10500 | 3 | 3500 | 8400 | 2100 |  |  |  | 100
Approach: While the application asks for number of rooms, we determined that aligning the "total project" cost from the application to the Total Cost Non-London values was better correlated than estimating number of rooms per home type. However, the application groups Terrace and Semi-Detached property types together. In order to better reflect Terrace costs, we decided to use costs for "End-Terrace" for Terrace/Semi-Detached properties with 4 or more rooms, and "Mid-Terrace" costs for Terrace/Semi-Detached properties with 3 or less rooms.
Internal Solid Wall insulation | Total Cost Non-London | Number of Rooms | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 6500 |  | 5200 | 1300 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs |  | 115
Detached, 4-bed, ~130m2 | 9500 |  | 7790 | 1710 |  |  |  |  | 130
End-terrace, 2-bed, ~80m2 | 6750 | If 4 or more Rooms | 5400 | 1350 |  |  |  |  | 80
Flat, 1-bed, ~50m2 | 3000 |  | 2400 | 600 |  |  |  |  | 50
Maisonette, 2-bed, ~60m2 | 3500 |  | 2800 | 700 |  |  |  |  | 60
Mid-terrace, 2-bed, ~75m2 | 3800 | If 3 or Less Rooms | 3040 | 760 |  |  |  |  | 75
Semi-Detached, 3-bed, ~100m2 | 7000 |  | 5600 | 1400 |  |  |  |  | 100
Approach: Average cost per wall was determined by dividing Total Cost Non-London by estimated number of exterior walls per home type. This could vary based on how "wall" is defined but high costs would be flagged.
Cavity Wall Insulation | Total Cost Non-London | Insulated Walls per home | Ext Wall Ins Cost per Wall | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 1300 | 4 | 325 | 1000 | 300 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these figures particularly robust. EDF provided data which showed lower costs (£700-1000). | 115
Detached, 4-bed, ~130m2 | 2000 | 4 | 500 | 1500 | 500 |  |  |  | 130
End-terrace, 2-bed, ~80m2 | 1300 | 3 | 433.3333 | 1000 | 300 |  |  |  | 80
Flat, 1-bed, ~50m2 | 1300 | 2 | 650 | 1000 | 300 |  |  |  | 50
Maisonette, 2-bed, ~60m2 | 1300 | 2 | 650 | 1000 | 300 |  |  |  | 60
Mid-terrace, 2-bed, ~75m2 | 1300 | 2 | 650 | 1000 | 300 |  |  |  | 75
Semi-Detached, 3-bed, ~100m2 | 1500 | 3 | 500 | 1000 | 500 |  |  |  | 100
Approach: The "Total Cost Non-London" values were divided by the property area noted in the description in Column C to determine the "Cost per m2". The average of the "Cost per m2" was used for the reference cost for this measure.
Under-floor Insulation | Total Cost Non-London | Cost per m2 | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 2875 | 25 | 2300 | 575 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these figures particularly robust. EDF provided data which showed lower costs (£900-1700). |  | 115
Detached, 4-bed, ~130m2 | 3250 | 50 | 2600 | 650 |  |  |  |  | 65
End-terrace, 2-bed, ~80m2 | 2000 | 50 | 1600 | 400 |  |  |  |  | 40
Maisonette, 2-bed, ~60m2 | 1500 | 50 | 1200 | 300 |  |  |  |  | 30
Mid-terrace, 2-bed, ~75m2 | 1875 | 50 | 1500 | 375 |  |  |  |  | 37.5
Semi-Detached, 3-bed, ~100m2 | 2500 | 50 | 2000 | 500 |  |  |  |  | 50
Average Cost / m2
45.8333
Approach: The "Total Cost Non-London" values were divided by the property area noted in the description in Column C to determine the "Cost per m2". The average of the "Cost per m2" was used for the reference cost for this measure.
Loft Insulation | Total Cost Non-London | Cost per m2 | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 900 | 7.8261 | 800 | 100 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs. EDF provided data which showed lower costs (£400-600). |  | 115
Detached, 4-bed, ~130m2 | 1100 | 16.9231 | 1000 | 100 |  |  |  |  | 65
End-terrace, 2-bed, ~80m2 | 600 | 15 | 500 | 100 |  |  |  |  | 40
Maisonette, 2-bed, ~60m2 | 600 | 20 | 500 | 100 |  |  |  |  | 30
Mid-terrace, 2-bed, ~75m2 | 600 | 16 | 500 | 100 |  |  |  |  | 37.5
Semi-Detached, 3-bed, ~100m2 | 800 | 16 | 700 | 100 |  |  |  |  | 50
Average Cost / m2
15.2915
Approach: The "Total Cost Non-London" values were divided by the property area noted in the description in Column C to determine the "Cost per m2". The average of the "Cost per m2" was used for the reference cost for this measure.
Room in Roof Insulation | Total Cost Non-London | Cost per m2 | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 2700 | 23.4783 | 2000 | 700 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs |  | 115
Detached, 4-bed, ~130m2 | 2700 | 41.5385 | 2000 | 700 |  |  |  |  | 65
End-terrace, 2-bed, ~80m2 | 2700 | 67.5 | 2000 | 700 |  |  |  |  | 40
Flat, 1-bed, ~50m2 | 2700 | 54 | 2000 | 700 |  |  |  |  | 50
Maisonette, 2-bed, ~60m2 | 2700 | 45 | 2000 | 700 |  |  |  |  | 60
Mid-terrace, 2-bed, ~75m2 | 2700 | 72 | 2000 | 700 |  |  |  |  | 37.5
Semi-Detached, 3-bed, ~100m2 | 2700 | 54 | 2000 | 700 |  |  |  |  | 50
Average Cost / m2
51.0738
Approach: The "Total Cost Non-London" values were divided by the property area noted in the description in Column C to determine the "Cost per m2". The average of the "Cost per m2" was used for the reference cost for this measure.
Flat Roof Insulation | Total Cost Non-London | Cost per m2 | Of which installation | Of which equipment | Cost London | Data Source | Details
All building types | 2000 | 33.5329 | 1000 | 1000 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs |  | 59.6429
Approach: The "Total Cost Non-London" values were divided by the property area noted in the description in Column C to determine the "Cost per m2". The average of the "Cost per m2" was used for the reference cost for this measure.
Park Home Insulation | Total Cost Non-London | Cost per m2 | Of which installation | Of which equipment | Cost London | Data Source | Details
All building types | 8000 | 69.5652 | 2000 | 6000 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs |  | 115
Approach: we conducted web searches to obtain third party cost data for the remaining measures. Source information is provided below.
Unit | Unit Cost | Secondary Measures | Source |  |  | Note
per hour | 46 | Draught Proofing | https://www.bidvine.com/draught-proofing/price-guide |  |  | Double labor amount to include materials
per window | 450 | Douple Glazing | https://householdquotes.co.uk/how-much-does-upvc-double-glazing-cost/
per window | 500 | Triple Glazing | https://householdquotes.co.uk/how-much-does-triple-glazing-cost/
per door | 600 | Door | https://householdquotes.co.uk/how-much-is-a-upvc-front-door/
per window | 280 | Secondary Glazing | https://www.myjobquote.co.uk/costs/secondary-glazing-cost#:~:text=Secondary%20glazing%20prices%20vary%20depending,250%2D%C2%A3500%20per%20window.
per device | 150 | Hot Water Thermostat | Assumed that the price is the same as the Heating Controls measure.
lab/mat 1 unit | 50 | Hot Water Tank Insulation | https://www.thegreenage.co.uk/insulating-hot-water-tank-jacket/
per device | 150 | Heating Controls | https://householdquotes.co.uk/how-much-to-install-central-heating/
Pitched Roofs Insulation
Installation of the insulation | Guide price per m² | Avg per option | Avg of both |  | https://www.roof-info.co.uk/insulate-roof
Insulate from the outside | £35 - £55 | 45 | 38.75
Insulate from the inside | £20 - £45 | 32.5
Suspended vs Solid Floor Insulation |  |  |  |  | https://www.checkatrade.com/blog/cost-guides/floor-insulation-cost/
Cost provided item | Price - Range Low | Price - Range High | Average UK Cost | Avg suspended | Average sq meter home | Avg Cost/m2
Suspended floor insulation | £770 | £1,000 | £885 | 705 | 59.6429 | 11.8204 | This value is used for suspended floor avg cost
Suspended timber floor insulation | £300 | £750 | £525

## Heating Measures - ICF
Note: Yellow highlighted values are used for the Cost Fraud Control Parameters tab.
Air Source Heat Pump | Approach: For ASHP, since the application does not distinquish between type, we took the average system cost for Monobloc, Split and High Temperature systems.
Air Source Heat Pump | Total Cost Non-London | Of which installation | Of which equipment | Total Cost Non-London | Of which installation | Of which equipment | Total Cost Non-London | Of which installation | Of which equipment | Data Source | Details
| Monobloc system |  |  | Split System |  |  | High Temperature System |  |  | Rory Matthews from Ecuity collated data from the Heat Pump Association | Includes radiator upgrade cost. Costs based on Birmingham. No London costs available.
2/3 bed | 7200 | 3914 | 3286
3/4 bed | 8362 | 4371 | 3991
4/5 bed | 9061 | 4614 | 4447 | 12036 | 5208 | 6828 | 13596 | 5208 | 8388
5 bed | 9538 | 4839 | 4699
Average | 8540.25 |  |  | 12036 |  |  | 13596
Average Project Cost for All ASHP Types: | 8540 | BEIS provided upper range of 10,675. Divided by 1.25 to get the avg cost.
Hybrid Heat Pump | Approach: Since there is only one data point, that is what we used.
Hybrid Air Source Heat Pump | Total Cost Non-London | Of which installation | Of which equipment | Data Source | Details
|  |  |  | Rory Matthews from Ecuity collated data from the Heat Pump Association | Includes radiator upgrade cost. Costs based on Birmingham. No London costs available. |  | PassiveSystems quote £6.5k for hybrid but little detail provided
2/3 bed
3/4 bed
4/5 bed | 10306 | 5208 | 5098
5 bed
Average | 10306
Approach: we conducted web searches to obtain third party cost data for the remaining measures. Source information is provided below.
Note that for Ground Source Heat Pumps we used the average for vertical and horizontal systems since the application does not ask for type.
Unit | Cost | Measure Type
4 bedroom | 12000 | Biomass Boilers
per unit | 4500 | Solar Thermal
3 bedroom | 35000 | Ground Source Heat Pumps - vertical
3 bedroom | 28000 | Ground Source Heat Pumps - horizontal
per unit | 31500 | Ground Source Heat Pumps - Average

## Insulation - orig
Average Costs
External Solid Wall Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 9500 | 7600 | 1900 |  | James Higgins, Ecuity, collated data from NIA (National Insultation Association). | Costs consistent in UK apart from London. These costs based on midlands. Need to estimate London costs as X% greater than rest of UK. Ecuity say these figures particularly robust.
Detached, 4-bed, ~130m2 | 12000 | 9600 | 2400
End-terrace, 2-bed, ~80m2 | 7750 | 6200 | 1550
Flat, 1-bed, ~50m2 | 5500 | 4400 | 1100
Maisonette, 2-bed, ~60m2 | 6000 | 4800 | 1200
Mid-terrace, 2-bed, ~75m2 | 7000 | 5600 | 1400
Semi-Detached, 3-bed, ~100m2 | 10500 | 8400 | 2100
Internal Solid Wall insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 6500 | 5200 | 1300 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs
Detached, 4-bed, ~130m2 | 9500 | 7790 | 1710
End-terrace, 2-bed, ~80m2 | 6750 | 5400 | 1350
Flat, 1-bed, ~50m2 | 3000 | 2400 | 600
Maisonette, 2-bed, ~60m2 | 3500 | 2800 | 700
Mid-terrace, 2-bed, ~75m2 | 3800 | 3040 | 760
Semi-Detached, 3-bed, ~100m2 | 7000 | 5600 | 1400
Cavity Wall Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 1300 | 1000 | 300 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these figures particularly robust. EDF provided data which showed lower costs (£700-1000).
Detached, 4-bed, ~130m2 | 2000 | 1500 | 500
End-terrace, 2-bed, ~80m2 | 1300 | 1000 | 300
Flat, 1-bed, ~50m2 | 1300 | 1000 | 300
Maisonette, 2-bed, ~60m2 | 1300 | 1000 | 300
Mid-terrace, 2-bed, ~75m2 | 1300 | 1000 | 300
Semi-Detached, 3-bed, ~100m2 | 1500 | 1000 | 500
Under-floor Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 2875 | 2300 | 575 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these figures particularly robust. EDF provided data which showed lower costs (£900-1700).
Detached, 4-bed, ~130m2 | 3250 | 2600 | 650
End-terrace, 2-bed, ~80m2 | 2000 | 1600 | 400
Maisonette, 2-bed, ~60m2 | 1500 | 1200 | 300
Mid-terrace, 2-bed, ~75m2 | 1875 | 1500 | 375
Semi-Detached, 3-bed, ~100m2 | 2500 | 2000 | 500
Loft Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 900 | 800 | 100 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs. EDF provided data which showed lower costs (£400-600).
Detached, 4-bed, ~130m2 | 1100 | 1000 | 100
End-terrace, 2-bed, ~80m2 | 600 | 500 | 100
Maisonette, 2-bed, ~60m2 | 600 | 500 | 100
Mid-terrace, 2-bed, ~75m2 | 600 | 500 | 100
Semi-Detached, 3-bed, ~100m2 | 800 | 700 | 100
Room in Roof Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
Bungalow, 3-bed, ~115m2 | 2700 | 2000 | 700 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs
Detached, 4-bed, ~130m2 | 2700 | 2000 | 700
End-terrace, 2-bed, ~80m2 | 2700 | 2000 | 700
Flat, 1-bed, ~50m2 | 2700 | 2000 | 700
Maisonette, 2-bed, ~60m2 | 2700 | 2000 | 700
Mid-terrace, 2-bed, ~75m2 | 2700 | 2000 | 700
Semi-Detached, 3-bed, ~100m2 | 2700 | 2000 | 700
Flat Roof Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
All building types | 2000 | 1000 | 1000 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs
Park Home Insulation | Total Cost Non-London | Of which installation | Of which equipment | Cost London | Data Source | Details
All building types | 8000 | 2000 | 6000 |  | James Higgins, Ecuity, collated data from NIA. | Costs consistent in UK apart from London. Ecuity say these are reasonable estimates of typical costs

## Heating Measures - orig
Air Source Heat Pump
Air Source Heat Pump | Total Cost Non-London | Of which installation | Of which equipment | Total Cost Non-London | Of which installation | Of which equipment | Total Cost Non-London | Of which installation | Of which equipment | Data Source | Details
| Monobloc system |  |  | Split System |  |  | High Temperature System |  |  | Rory Matthews from Ecuity collated data from the Heat Pump Association | Includes radiator upgrade cost. Costs based on Birmingham. No London costs available.
2/3 bed | 7200 | 3914 | 3286
3/4 bed | 8362 | 4371 | 3991
4/5 bed | 9061 | 4614 | 4447 | 12036 | 5208 | 6828 | 13596 | 5208 | 8388
5 bed | 9538 | 4839 | 4699
Hybrid Heat Pump
Hybrid Air Source Heat Pump | Total Cost Non-London | Of which installation | Of which equipment | Data Source | Details
|  |  |  | Rory Matthews from Ecuity collated data from the Heat Pump Association | Includes radiator upgrade cost. Costs based on Birmingham. No London costs available. |  | PassiveSystems quote £6.5k for hybrid but little detail provided
2/3 bed
3/4 bed
4/5 bed | 10306 | 5208 | 5098
5 bed
No data:
Biomass Boilers
Solar Thermal
Ground Source Heat Pumps